**Tender for The Drilling of a Sea-Water Borehole and Installation of Pump and Pipeworks and Commissioning thereof at Xrobb L-Għaġin Natural Park as part of ERDF Project ERDF.05.121 – Wildlife Rehabilitation Centre**

**ERDF.05.0121 – Tender 011**

**Literature List**

**List of literature that shall be submitted by the bidder to corroborate the technical offer/declaration;** (Note 2)

|  |  |
| --- | --- |
| **Item** | **Description** |
| **1.1** | Manufacturer’s Literature of the Carbon Free HDPE Pipework used for the lining of the borehole the bidder intends to supply and install if awarded this tender, to provide the Contracting Authority with the necessary comfort that it meets the set specifications in SECTION 4 –SPECIFICATIONS/TERMS OF REFERENCE / Terms of Reference, Article 2.3 of the technical Specifications. |
| **1.2** | Manufacturer’s Literature of the Borehole Pump the bidder intends to supply and install if awarded this tender, to provide the Contracting Authority with the necessary comfort that it meets the set specifications in SECTION 4 –SPECIFICATIONS/TERMS OF REFERENCE / Terms of Reference, Article 3.3 of the technical Specifications. |
| **1.3** | Manufacturer’s Literature of the Borehole Pump Pipework the bidder intends to supply and install if awarded this tender, to provide the Contracting Authority with the necessary comfort that it meets the set specifications in SECTION 4 –SPECIFICATIONS/TERMS OF REFERENCE / Terms of Reference, Article 3.2.2 of the technical Specifications. |
| **1.4** | Document proving the availability of the services of a Warranted Engineer in terms of the Engineering Profession Act (Chapter 321). |

1. The contractor is to submit technical literature covering all key components of the system being proposed.

2. All Literature shall be in English.

3. Literature shall show abidance with each and ever technical spec.