## Summary (2)
Tender for the supply, delivery and installation of Heating and Cooling systems as part of ERDF Project ERDF.05.121 – Wildlife Rehabilitation Centre
ERDF.PA5.0121 – Tender 017
The tables that follow give the description of the rates (or unit prices) by using the relevant clauses of the Technical Specifications.
N.B. Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.
Summary
Bill | Description | Amount Including Taxes, Other Duties & Discounts but Exclusive of VAT
€
A | AIR CONDITIONING SYSTEM | 0
B | VENTILATION INSTALLATION | 0
| GRAND TOTAL - CARRIED FORWARD TO FINANCIAL SECTION OF ONLINE TENDER RESPONSE | 0

## Bill A - AC
FINANCIAL BID
Breakdown of Costs
Tender Title | Tender for the supply, delivery and installation of Heating and Cooling systems as part of ERDF Project ERDF.05.121 – Wildlife Rehabilitation Centre
Reference Number | ERDF.05.0121 – Tender 017
Item | Description | Quantity | Unit | Technical Specifications | Unit Rate Including Taxes, other Duties, and Discounts but Exclusive of VAT | Line Item total Amount Including Taxes, Other Duties & Discounts but Exclusive of VAT
[5 empty] | € | €
Preliminaries
All equipment to be used within this contract is to be approved prior to delivery to site.
Prepare a risk assessment report outlining all risks involved and measures to be taken to minimise or eliminate potential risks. The report is to be prepared and signed by a competent person and to be submitted within three weeks from commencement of works. Implementation of health and safety measures on site including personal safety (e.g safety shoes, helmets scaffolding, harnesses etc) as well as those to render the site safe for employees.
Allow for carrying out all surveys, setting out of works unless included elsewhere in the Bills of Quantities.
Provision for the supply and delivery to site of samples as may be requested by the Consultant Engineer
Allow for continuously keeping the site and building clean and in a workman type condition free from debris, surplus materials and any other type of loose matter arising from works, which will disturb the proper conditions of any internal and external areas, roads and/or adjoining structures. Site Cleaning is to take place during the whole duration of works
Provision for hauling of equipment on site, including cranage, permits and all necessary fees.
AIR CONDITIONING SYSTEM
1.001 | Supply, Install and connect and commission of the following reverse cycle heat pump/ VRF system S-01 outdoor unit 53 kW cooling capacity c/w all electrical connections,including all supports, controls etc for a complete system. | 1 | No. |  |  | 0
Supply, Install, connect and commission the following copper pipework c/w preformed insulation (which shall be weatherproofed for all external runs) inclusive of all accessories, bracketing, cale tray for multiple copper runs, fittings, sleeves in walls, brackets, fixing, vents, oil traps, connections, etc. and all necessary to provide a complete system
1.002 | Pipework System S-01 | 1 | L.S. |  |  | 0
1.003 | Supply and install Polyisobutylene weatherproof covering on all outdoor copper runs | 1 | L.S. |  |  | 0
System S-01
Supply, install and connect and commission VRF system indoor Units, as specified c/w thermostats located as indicated in the drawings, and including all chasing, conduit preparation, electrical wiring, ducting, drains, connections, control cabling from outdoor unit to indoor unit, control cabling from unit to thermostat and all other accessories etc. required for a complete installation:
1.004 | 3.6 kW - Wall Mounted Type Unit | 1 | No. |  |  | 0
1.005 | 4.5kW - Wall Mounted Type Unit | 4 | No. |  |  | 0
1.006 | 5.6 kW - Wall Mounted Type Unit | 2 | No. |  |  | 0
1.007 | 7.1 kW - Wall Mounted Type Unit | 4 | No. |  |  | 0
1.008 | Supply, Install and connect thermostats | 11 | No. |  |  | 0
1.009 | Supply and install high-pressure PVC drains for A/C units c/w closed cell type insulation c/w all chasing, brackets etc for a complete system. | 1 | L.S. |  |  | 0
1.01 | Supply, Install and connect and commission of the following reverse cycle heat pump/ Mini-VRF system S-02 outdoor unit 14.2 kW cooling capacity c/w all electrical connections,including all supports, controls etc for a complete system. | 1 | No. |  |  | 0
Supply, Install, connect and commission the following copper pipework c/w preformed insulation (which shall be weatherproofed for all external runs) inclusive of all accessories, bracketing, cale tray for multiple copper runs, fittings, sleeves in walls, brackets, fixing, vents, oil traps, connections, etc. and all necessary to provide a complete system
1.011 | Pipework System S-02 | 1 | L.S. |  |  | 0
1.012 | Supply and install Polyisobutylene weatherproof covering on all outdoor copper runs | 1 | L.S. |  |  | 0
System S-02
Supply, install and connect and commission VRF system indoor Units, as specified c/w thermostats located as indicated in the drawings, and including all chasing, conduit preparation, electrical wiring, ducting, drains, connections, control cabling from outdoor unit to indoor unit, control cabling from unit to thermostat and all other accessories etc. required for a complete installation:
1.013 | 7.1 kW - Wall Mounted Type Unit | 2 | No. |  |  | 0
1.014 | Supply, Install and connect thermostats | 2 | No. |  |  | 0
1.015 | Supply and install high-pressure PVC drains for A/C units c/w closed cell type insulation c/w all chasing, brackets etc for a complete system. | 1 | L.S. |  |  | 0
1.016 | Supply one full set of as fitted drawings (including 1 hard copy and a digital copy on 2 separate USBs) | 1 | Set |  |  | 0
| GRAND TOTAL INCLUDING TAXES / CHARGES, OTHER DUTIES & DISCOUNTS BUT EXCLUSIVE OF VAT (DELIVERED DUTY PAID - DDP) |  |  |  |  | 0
N.B | Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.

## Bill B - Ventilation
FINANCIAL BID
Breakdown of Costs
Tender Title | Tender for the supply, delivery and installation of Heating and Cooling systems as part of ERDF Project ERDF.05.121 – Wildlife Rehabilitation Centre
Reference Number | ERDF.05.0121 – Tender 017
Item | Description | Quantity | Unit | Technical Specifications | Unit Rate Including Taxes, other Duties, and Discounts but Exclusive of VAT | Line Item total Amount Including Taxes, Other Duties & Discounts but Exclusive of VAT
[5 empty] | € | €
Preliminaries
All equipment to be used within this contract is to be approved prior to delivery to site.
Prepare a risk assessment report outlining all risks involved and measures to be taken to minimise or eliminate potential risks. The report is to be prepared and signed by a competent person and to be submitted within three weeks from commencement of works. Implementation of health and safety measures on site including personal safety (e.g safety shoes, helmets scaffolding, harnesses etc) as well as those to render the site safe for employees.
Allow for carrying out all surveys, setting out of works unless included elsewhere in the Bills of Quantities.
Provision for the supply and delivery to site of samples as may be requested by the Consultant Engineer
Allow for continuously keeping the site and building clean and in a workman type condition free from debris, surplus materials and any other type of loose matter arising from works, which will disturb the proper conditions of any internal and external areas, roads and/or adjoining structures. Site Cleaning is to take place during the whole duration of works
Provision for hauling of equipment on site, including cranage, permits and all necessary fees.
VENTILATION INSTALLATION
Supply, install and connect the following Extractor fans c/w 2 off silencers one upstream and one downstream from the fan, variable speed controllers, transformation pieces etc for a complete system inclusive of connecting up of fans to electrical supply.
2.001 | LO-EF-01 Extract Fan - 1500m3/hr at 100pa | 1 | No. |  |  | 0
2.002 | LO-EF-02 Extract Fan - 150m3/hr at 100pa | 1 | No. |  |  | 0
2.003 | LO-EF-03 Extract Fan - 270m3/hr at 100pa | 1 | No. |  |  | 0
2.004 | LO-EF-04 Extract Fan - 270m3/hr at 100pa | 1 | No. |  |  | 0
2.005 | LO-EF-05 Extract Fan - 270m3/hr at 100pa | 1 | No. |  |  | 0
Supply, Install and connect the following single curved blade type supply/extraction grills c/w opposed blade damper and transformation pieces etc for a complete system.
2.006 | EG 01 - 300 x 200 mm | 5 | No. |  |  | 0
2.007 | EG 02 - 200 x 100 mm | 12 | No. |  |  | 0
Supply, Install and connect the following external weatherproof louvers:
2.008 | WL 01 - 300 x 300 mm | 1 | No. |  |  | 0
2.009 | WL 02 - 150 x 100 mm | 1 | No. |  |  | 0
2.01 | WL 03 - 150 x 150 mm | 3 | No. |  |  | 0
Supply and install the following phenolic ductwork inc. all elbows, Tee's, transformation pieces, brackets. All external ductwork shall be c/w weatherproofing.
2.011 | 100 x 100 mm | 15 | m |  |  | 0
2.012 | 100 x 150 mm | 5 | m |  |  | 0
2.013 | 125 x 150 mm | 15 | m |  |  | 0
2.014 | 150 x 150 mm | 10 | m |  |  | 0
2.015 | 200 x 300 mm | 20 | m |  |  | 0
2.016 | 250 x 300 mm | 10 | m |  |  | 0
Supply, install and connect the following ventilation control panels as indicated in the drawings including all starters, control cables, speed drives, contactors, overload protection, FAP interface, visual and audible alarm as described in the specifications for a complete system
2.017 | Ventilation Control Panel VCP-01 | 1 | L.S |  |  | 0
2.018 | Supply one full set of as fitted drawings (including 1 hard copy and a digital copy on 2 separate USBs) | 1 | Set |  |  | 0
| GRAND TOTAL INCLUDING TAXES / CHARGES, OTHER DUTIES & DISCOUNTS BUT EXCLUSIVE OF VAT (DELIVERED DUTY PAID - DDP) |  |  |  |  | 0
N.B | Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.