## Summary
Tender for Mechanical and Electrical Engineering as part of ERDF Project ERDF.05.121 – Wildlife Rehabilitation Centre
ERDF.PA5.0121 – Tender 012
The tables that follow give the description of the rates (or unit prices) by using the relevant clauses of the Technical Specifications.
N.B. Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.
Bill | Description | Amount Including Taxes, Other Duties & Discounts but Exclusive of VAT
€
1 | ELECTRICAL INSTALLATION | 0
2 | LIGHT FITTINGS - SUPPLY, INSTALL & CONNECT | 0
3 | CABLE CONTAINMENT INSTALLATION | 0
4 | TRENCHING WORKS | 0
5 | PLUMBING INSTALLATION FOR BATHROOMS | 0
6 | PLUMBING INSTALLATION FOR TANKING INSTALLATION | 0
7 | SEWERAGE INSTALLATION | 0
8 | DATA INSTALLATION | 0
| GRAND TOTAL INCLUDING TAXES / CHARGES, OTHER DUTIES & DISCOUNTS BUT EXCLUSIVE OF VAT (DELIVERED DUTY PAID - DDP) | 0
N.B | Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.

## Bill 1 - Electrical
Tender for Mechanical and Electrical Engineering as part of ERDF Project ERDF.05.121 – Wildlife Rehabilitation Centre
ERDF.PA5.0121 – Tender 019
The tables that follow give the description of the rates (or unit prices) by using the relevant clauses of the Technical Specifications.
N.B. Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.
ITEM | DESCRIPTION | QTY | UNIT | RATE (Exclusive of VAT, but including all taxes & any other charges as applicable) € | TOTAL (Exclusive of VAT, but including all taxes & any other charges as applicable) €
PRELIMINARIES
All equipment to be used within this contract is to be approved prior to delivery to site.
Prepare a risk assessment report outlining all risks involved and measures to be taken to minimise or eliminate potential risks. The report is to be prepared and signed by a competent person and to be submitted within three weeks from commencement of works. Implementation of health and safety measures on site including personal safety (e.g safety shoes, helmets scaffolding, harnesses etc) as well as those to render the site safe for employees.
Allow for carrying out all surveys, setting out of works unless included elsewhere in the Bills of Quantities.
Provision for the supply and delivery to site of samples as may be requested by the Consultant Engineer
Allow for continuously keeping the site and building clean and in a workman type condition free from debris, surplus materials and any other type of loose matter arising from works, which will disturb the proper conditions of any internal and external areas, roads and/or adjoining structures. Site Cleaning is to take place during the whole duration of works
Provision for hauling of equipment on site, including cranage, permits and all necessary fees.
1 | ELECTRICAL INSTALLATION
Supply and install the following main switchgear
1.001 | Main Distribution Board 'DB-M' 200A TP&N as specified , MCCB's feeding circuits as indicated on the drawing & specifications | 1 | No. |  | 0
1.002 | Automatic change over | 1 | No. |  | 0
1.003 | Supply, install and connect 10 kVA UPS | 1 | No. |  | 0
1.004 | Over/ Under Voltage Contactor c/w Settable Sensing Relay (200A) | 1 | No. |  | 0
Supply, install and connect the following cables on cable tray, etc. including all cleats, glands, terminal lugs etc., for a complete system.
1.005 | From Change Over to DB-M (5 x 70 mm2 XLPE/LSZH) | 10 | m |  | 0
1.006 | From Enemalta meter to Main distribution board DB-M (5 x 70 mm2 XLPE/LSZH) | 10 | m |  | 0
From Main Distribution Board 'DB-M' to:
1.007 | Dist. Bd. 'DB-A' (5 x 16 mm2 XLPE/LSZH) | 5 | m |  | 0
1.008 | Dist. Bd. 'DB-B' (3 x 6 mm2 XLPE/LSZH) | 65 | m |  | 0
1.009 | Dist. Bd. 'DB-QA' (3 x 10 mm2 XLPE/LSZH) | 350 | m |  | 0
1.01 | Dist. Bd. 'DB-QB' (3 x 10 mm2 XLPE/LSZH) | 300 | m |  | 0
1.011 | Dist. Bd. 'DB-QC' (3 x 10 mm2 XLPE/LSZH) | 265 | m |  | 0
1.012 | Dist. Bd. 'DB-R' (5 x 6 mm2 XLPE/LSZH) | 35 | m |  | 0
1.013 | Dist. Bd. 'DB-TNK' (5 x 16 mm2 XLPE/LSZH) | 25 | m |  | 0
1.014 | Dist. Bd. 'DB-AV' (3 x 6 mm2 XLPE/LSZH) | 95 | m |  | 0
1.015 | Dist. Bd. 'DB- PMP' (5 x 6 mm2 XLPE/LSZH) | 50 | m |  | 0
1.016 | Cons Unit. 'CU-UPS' (3 x 4 mm2 XLPE/LSZH) | 45 | m |  | 0
From Distribution Board 'DB-A' to:
1.017 | VCP-A supply (3 x 4 mm2 XLPE/LSZH) | 5 | m |  | 0
From Ventilation Control Panel 'VCP-A' to:
1.018 | EF -01 supply (3 x 4 mm2 XLPE/LSZH) | 20 | m |  | 0
Supply, install & connect the following isolators for the above:
1.019 | 20 amps single phase isolator | 1 | No. |  | 0
From Distribution Board 'DB-PMP' to:
1.02 | Borehole pump 02 supply (5 x 6 mm2 XLPE/LSZH) | 65 | m |  | 0
Supply, install & connect the following isolators for the above:
1.021 | 32 amps three phase isolator | 1 | No. |  | 0
From Distribution Board 'DB-B' to:
1.022 | VRF -02 supply (3 x 4 mm2 XLPE/LSZH) | 65 | m |  | 0
Supply, install & connect the following isolators for the above:
1.023 | 32 amps single phase isolator | 1 | No. |  | 0
From Distribution Board 'DB-AV' to:
1.024 | Pole. '01' (3 x 4 mm2 XLPE/LSZH) | 120 | m |  | 0
1.025 | Pumping Station supply (3 x 4 mm2 XLPE/LSZH) | 35 | m |  | 0
Supply, install & connect the following isolators for the above:
1.026 | 32 amps single phase isolator | 1 | No. |  | 0
From Distribution Board 'DB-R' to:
1.027 | VRF -01 supply (5 x 6 mm2 XLPE/LSZH) | 65 | m |  | 0
Supply, install & connect the following isolators for the above:
1.028 | 32 amps three phase isolator | 1 | No. |  | 0
From Main Distribution Board 'DB-TNK' to:
1.029 | Supply for MCP 01 of Tank 01 (3 x 6 mm2 XLPE/LSZH) | 45 | m |  | 0
1.03 | Supply for MCP 02 of Tank 02 (3 x 6 mm2 XLPE/LSZH) | 45 | m |  | 0
1.031 | Supply for MCP 03 of Tank 03 (3 x 6 mm2 XLPE/LSZH) | 40 | m |  | 0
1.032 | Supply for MCP 04 of Tank 04 (3 x 6 mm2 XLPE/LSZH) | 40 | m |  | 0
1.033 | Supply for MCP 05 of Tank 05 (3 x 6 mm2 XLPE/LSZH) | 40 | m |  | 0
1.034 | Supply for MCP 06 of Tank 06 (3 x 6 mm2 XLPE/LSZH) | 35 | m |  | 0
1.035 | Supply for MCP 07 of Tank 07 (3 x 6 mm2 XLPE/LSZH) | 40 | m |  | 0
1.036 | Supply for MCP 08 of Tank 08 (3 x 6 mm2 XLPE/LSZH) | 35 | m |  | 0
1.037 | Supply for MCP 09 of Tank 09 (3 x 6 mm2 XLPE/LSZH) | 35 | m |  | 0
1.038 | Supply for MCP 10 of Tank 10 (3 x 6 mm2 XLPE/LSZH) | 35 | m |  | 0
1.039 | Supply for MCP 11 of Tank 11 (3 x 6 mm2 XLPE/LSZH) | 30 | m |  | 0
1.04 | Supply for MCP 12 of Tank 12 (3 x 6 mm2 XLPE/LSZH) | 30 | m |  | 0
1.041 | Supply for MCP 13 of Tank 13 (3 x 6 mm2 XLPE/LSZH) | 25 | m |  | 0
1.042 | Supply for MCP 14 of Tank 14 (3 x 6 mm2 XLPE/LSZH) | 25 | m |  | 0
1.043 | Supply for MCP 15 of Tank 15 (3 x 6 mm2 XLPE/LSZH) | 25 | m |  | 0
1.044 | Supply for MCP EF of Tank EF (3 x 6 mm2 XLPE/LSZH) | 15 | m |  | 0
1.045 | Supply for Pump 01 (3 x 4 mm2 XLPE/LSZH) | 16 | m |  | 0
1.046 | Supply for Overhead Crane (5 x 4 mm2 XLPE/LSZH) | 25 | m |  | 0
From MCP 01' - Tanks 01 to:
1.047 | Supply for primary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 15 | m |  | 0
1.048 | Supply for secondary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 15 | m |  | 0
1.049 | Supply for UV Filter isolator (3 x 2.5 mm2 XLPE/LSZH) | 15 | m |  | 0
1.05 | Supply for power outlet (3 x 2.5 mm2 XLPE/LSZH) | 15 | m |  | 0
Supply, install & connect the following isolators for the above:
1.051 | 20 amps single phase isolator | 3 | No. |  | 0
1.052 | Metal clad twin socket outlet - IP68 | 1 | No. |  | 0
From MCP 02' - Tanks 02 to:
1.053 | Supply for primary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 30 | m |  | 0
1.054 | Supply for secondary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 30 | m |  | 0
1.055 | Supply for UV Filter isolator (3 x 2.5 mm2 XLPE/LSZH) | 30 | m |  | 0
1.056 | Supply for power outlet (3 x 2.5 mm2 XLPE/LSZH) | 30 | m |  | 0
Supply, install & connect the following isolators for the above:
1.057 | 20 amps single phase isolator | 3 | No. |  | 0
1.058 | Metal clad twin socket outlet - IP68 | 1 | No. |  | 0
From MCP 03' - Tanks 03 to:
1.059 | Supply for primary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 30 | m |  | 0
1.06 | Supply for secondary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 30 | m |  | 0
1.061 | Supply for UV Filter isolator (3 x 2.5 mm2 XLPE/LSZH) | 30 | m |  | 0
1.062 | Supply for power outlet (3 x 2.5 mm2 XLPE/LSZH) | 30 | m |  | 0
Supply, install & connect the following isolators for the above:
1.063 | 20 amps single phase isolator | 3 | No. |  | 0
1.064 | Metal clad twin socket outlet - IP68 | 1 | No. |  | 0
From MCP 04' - Tanks 04 to:
1.065 | Supply for primary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 15 | m |  | 0
1.066 | Supply for secondary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 15 | m |  | 0
1.067 | Supply for UV Filter isolator (3 x 2.5 mm2 XLPE/LSZH) | 15 | m |  | 0
1.068 | Supply for power outlet (3 x 2.5 mm2 XLPE/LSZH) | 15 | m |  | 0
Supply, install & connect the following isolators for the above:
1.069 | 20 amps single phase isolator | 3 | No. |  | 0
1.07 | Metal clad twin socket outlet - IP68 | 1 | No. |  | 0
From MCP 05' - Tanks 05 to:
1.071 | Supply for primary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 15 | m |  | 0
1.072 | Supply for secondary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 15 | m |  | 0
1.073 | Supply for UV Filter isolator (3 x 2.5 mm2 XLPE/LSZH) | 15 | m |  | 0
1.074 | Supply for power outlet (3 x 2.5 mm2 XLPE/LSZH) | 15 | m |  | 0
Supply, install & connect the following isolators for the above:
1.075 | 20 amps single phase isolator | 3 | No. |  | 0
1.076 | Metal clad twin socket outlet - IP68 | 1 | No. |  | 0
From MCP 06' - Tanks 06 to:
1.077 | Supply for primary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 30 | m |  | 0
1.078 | Supply for secondary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 30 | m |  | 0
1.079 | Supply for UV Filter isolator (3 x 2.5 mm2 XLPE/LSZH) | 30 | m |  | 0
1.08 | Supply for power outlet (3 x 2.5 mm2 XLPE/LSZH) | 30 | m |  | 0
Supply, install & connect the following isolators for the above:
1.081 | 20 amps single phase isolator | 3 | No. |  | 0
1.082 | Metal clad twin socket outlet - IP68 | 1 | No. |  | 0
From MCP 07' - Tanks 07 to:
1.083 | Supply for primary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 30 | m |  | 0
1.084 | Supply for secondary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 30 | m |  | 0
1.085 | Supply for UV Filter isolator (3 x 2.5 mm2 XLPE/LSZH) | 30 | m |  | 0
1.086 | Supply for power outlet (3 x 2.5 mm2 XLPE/LSZH) | 30 | m |  | 0
Supply, install & connect the following isolators for the above:
1.087 | 20 amps single phase isolator | 3 | No. |  | 0
1.088 | Metal clad twin socket outlet - IP68 | 1 | No. |  | 0
From MCP 08' - Tanks 08 to:
1.089 | Supply for primary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 10 | m |  | 0
1.09 | Supply for secondary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 10 | m |  | 0
1.091 | Supply for UV Filter isolator (3 x 2.5 mm2 XLPE/LSZH) | 10 | m |  | 0
1.092 | Supply for power outlet (3 x 2.5 mm2 XLPE/LSZH) | 10 | m |  | 0
Supply, install & connect the following isolators for the above:
1.093 | 20 amps single phase isolator | 3 | No. |  | 0
1.094 | Metal clad twin socket outlet - IP68 | 1 | No. |  | 0
From MCP 09' - Tanks 09 to:
1.095 | Supply for primary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 15 | m |  | 0
1.096 | Supply for secondary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 15 | m |  | 0
1.097 | Supply for UV Filter isolator (3 x 2.5 mm2 XLPE/LSZH) | 15 | m |  | 0
1.098 | Supply for power outlet (3 x 2.5 mm2 XLPE/LSZH) | 15 | m |  | 0
Supply, install & connect the following isolators for the above:
1.099 | 20 amps single phase isolator | 3 | No. |  | 0
1.1 | Metal clad twin socket outlet - IP68 | 1 | No. |  | 0
From MCP 10' - Tanks 10 to:
1.101 | Supply for primary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 10 | m |  | 0
1.102 | Supply for secondary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 10 | m |  | 0
1.103 | Supply for UV Filter isolator (3 x 2.5 mm2 XLPE/LSZH) | 10 | m |  | 0
1.104 | Supply for power outlet (3 x 2.5 mm2 XLPE/LSZH) | 10 | m |  | 0
Supply, install & connect the following isolators for the above:
1.105 | 20 amps single phase isolator | 3 | No. |  | 0
1.106 | Metal clad twin socket outlet - IP68 | 1 | No. |  | 0
From MCP 11' - Tanks 11 to:
1.107 | Supply for primary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 15 | m |  | 0
1.108 | Supply for secondary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 15 | m |  | 0
1.109 | Supply for UV Filter isolator (3 x 2.5 mm2 XLPE/LSZH) | 15 | m |  | 0
1.11 | Supply for power outlet (3 x 2.5 mm2 XLPE/LSZH) | 15 | m |  | 0
Supply, install & connect the following isolators for the above:
1.111 | 20 amps single phase isolator | 3 | No. |  | 0
1.112 | Metal clad twin socket outlet - IP68 | 1 | No. |  | 0
From MCP 12' - Tanks 12 to:
1.113 | Supply for primary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 10 | m |  | 0
1.114 | Supply for secondary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 10 | m |  | 0
1.115 | Supply for UV Filter isolator (3 x 2.5 mm2 XLPE/LSZH) | 10 | m |  | 0
1.116 | Supply for power outlet (3 x 2.5 mm2 XLPE/LSZH) | 10 | m |  | 0
Supply, install & connect the following isolators for the above:
1.117 | 20 amps single phase isolator | 3 | No. |  | 0
1.118 | Metal clad twin socket outlet - IP68 | 1 | No. |  | 0
From MCP 13' - Tanks 13 to:
1.119 | Supply for primary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 15 | m |  | 0
1.12 | Supply for secondary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 15 | m |  | 0
1.121 | Supply for UV Filter isolator (3 x 2.5 mm2 XLPE/LSZH) | 15 | m |  | 0
1.122 | Supply for power outlet (3 x 2.5 mm2 XLPE/LSZH) | 15 | m |  | 0
Supply, install & connect the following isolators for the above:
1.123 | 20 amps single phase isolator | 3 | No. |  | 0
1.124 | Metal clad twin socket outlet - IP68 | 1 | No. |  | 0
From MCP 14' - Tanks 14 to:
1.125 | Supply for primary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 10 | m |  | 0
1.126 | Supply for secondary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 10 | m |  | 0
1.127 | Supply for UV Filter isolator (3 x 2.5 mm2 XLPE/LSZH) | 10 | m |  | 0
1.128 | Supply for power outlet (3 x 2.5 mm2 XLPE/LSZH) | 10 | m |  | 0
Supply, install & connect the following isolators for the above:
1.129 | 20 amps single phase isolator | 3 | No. |  | 0
1.13 | Metal clad twin socket outlet - IP68 | 1 | No. |  | 0
From MCP 15' - Tanks 15 to:
1.131 | Supply for primary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 10 | m |  | 0
1.132 | Supply for secondary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 10 | m |  | 0
1.133 | Supply for UV Filter isolator (3 x 2.5 mm2 XLPE/LSZH) | 10 | m |  | 0
1.134 | Supply for power outlet (3 x 2.5 mm2 XLPE/LSZH) | 10 | m |  | 0
Supply, install & connect the following isolators for the above:
1.135 | 20 amps single phase isolator | 3 | No. |  | 0
1.136 | Metal clad twin socket outlet - IP68 | 1 | No. |  | 0
From MCP EF' - Tanks EF to:
1.137 | Supply for primary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 15 | m |  | 0
1.138 | Supply for secondary pump isolator (3 x 2.5 mm2 XLPE/LSZH) | 15 | m |  | 0
1.139 | Supply for UV Filter isolator (3 x 2.5 mm2 XLPE/LSZH) | 15 | m |  | 0
1.14 | Supply for power outlet (3 x 2.5 mm2 XLPE/LSZH) | 15 | m |  | 0
Supply, install & connect the following isolators for the above:
1.141 | 20 amps single phase isolator | 3 | No. |  | 0
1.142 | Metal clad twin socket outlet - IP68 | 1 | No. |  | 0
Supply, install and connect the following distribution boards
1.143 | 20 way 63Amp T.P.N. distribution board 'DB-A' as per schematic | 1 | No. |  | 0
1.144 | 4 way 40Amp T.P.N. distribution board 'DB-B' as per schematic | 1 | No. |  | 0
1.145 | 4 way 40Amp T.P.N. distribution board 'DB-AV' as per schematic | 1 | No. |  | 0
1.146 | 4 way 40Amp T.P.N. distribution board 'DB-PMP' as per schematic | 1 | No. |  | 0
1.147 | 4 way 40Amp T.P.N. distribution board 'DB-R' as per schematic | 1 | No. |  | 0
1.148 | 16 way 63Amp T.P.N. distribution board 'DB-TNK' as per schematic | 1 | No. |  | 0
1.149 | 4 way 40Amp T.P.N. distribution board 'DB-QA' as per schematic | 1 | No. |  | 0
1.15 | 4 way 40Amp T.P.N. distribution board 'DB-QB' as per schematic | 1 | No. |  | 0
1.151 | 4 way 40Amp T.P.N. distribution board 'DB-QC' as per schematic | 1 | No. |  | 0
1.152 | 6 module 40Amp S.P.N. consumer unit 'CU-UPS' as per schematic | 1 | No. |  | 0
Supply, install and connect the following motor control panels:
1.153 | MCP 01 for Tank 01 Motor Control Panel as per schematic | 1 | No. |  | 0
1.154 | MCP 02 for Tank 02 Motor Control Panel as per schematic | 1 | No. |  | 0
1.155 | MCP 03 for Tank 03 Motor Control Panel as per schematic | 1 | No. |  | 0
1.156 | MCP 04 for Tank 04 Motor Control Panel as per schematic | 1 | No. |  | 0
1.157 | MCP 05 for Tank 05 Motor Control Panel as per schematic | 1 | No. |  | 0
1.158 | MCP 06 for Tank 06 Motor Control Panel as per schematic | 1 | No. |  | 0
1.159 | MCP 07 for Tank 07 Motor Control Panel as per schematic | 1 | No. |  | 0
1.16 | MCP 08 for Tank 08 Motor Control Panel as per schematic | 1 | No. |  | 0
1.161 | MCP 09 for Tank 09 Motor Control Panel as per schematic | 1 | No. |  | 0
1.162 | MCP 10 for Tank 10 Motor Control Panel as per schematic | 1 | No. |  | 0
1.163 | MCP 11 for Tank 11 Motor Control Panel as per schematic | 1 | No. |  | 0
1.164 | MCP 12 for Tank 12 Motor Control Panel as per schematic | 1 | No. |  | 0
1.165 | MCP 13 for Tank 13 Motor Control Panel as per schematic | 1 | No. |  | 0
1.166 | MCP 14 for Tank 14 Motor Control Panel as per schematic | 1 | No. |  | 0
1.167 | MCP 15 for Tank 15 Motor Control Panel as per schematic | 1 | No. |  | 0
1.168 | MCP EF for Tank EF Motor Control Panel as per schematic | 1 | No. |  | 0
Wiring from distribution boards using LSZH cable enclosed in galvanised trunking and PVC conduit chased in wall/ surface mounted including the supply of all LSZH cable and PVC wiring accessories etc. for a complete installation
From Dist. Board 'DB-A' to:
1.169 | Twin Socket Outlets | 105 | No. |  | 0
1.17 | Single Socket Outlets | 1 | No. |  | 0
1.171 | Double pole switch | 30 | No. |  | 0
1.172 | Flex outlet | 14 | No. |  | 0
1.173 | Cooker unit | 1 | No. |  | 0
1.174 | 2 Light Point on 1 Switch | 4 | No. |  | 0
1.175 | 3 Light Point on 1 Switch | 5 | No. |  | 0
1.176 | 4 Light Point on 1 Switch | 2 | No. |  | 0
1.177 | 5 Light Point on 1 Switch | 1 | No. |  | 0
1.178 | 6 Light Point on 1 Switch | 1 | No. |  | 0
1.179 | 9 Light Point on 1 Switch | 4 | No. |  | 0
1.18 | 4 Light Point on 2 way Switch | 3 | No. |  | 0
1.181 | 6 Light Point on 2 way Switch | 1 | No. |  | 0
1.182 | 9 Light Point on 2 way Switch | 2 | No. |  | 0
1.183 | 1 Light Point on presence detector | 6 | No. |  | 0
1.184 | 2 Light Point on presence detector | 3 | No. |  | 0
1.185 | 5 Light Point on photocell sensor | 1 | No. |  | 0
1.186 | 7 Light Point on presence sensor | 1 | No. |  | 0
1.187 | 11 Light Point on presence sensor | 1 | No. |  | 0
1.188 | Emergency light points (Maintained) | 8 | No. |  | 0
1.189 | Extra over and above cabling for voltage sensing/battery charging for fittings with power pack. | 42 | No. |  | 0
Supply, install & connect:
1.19 | 90˚ Presence detector | 6 | No. |  | 0
1.191 | 360˚ Presence detector | 3 | No. |  | 0
1.192 | Photocell sensor | 3 | No. |  | 0
1.193 | 32 amps single phase isolator | 3 | No. |  | 0
Wiring from distribution boards using LSZH cable enclosed in galvanised trunking and PVC conduit chased in wall/ surface mounted including the supply of all LSZH cable and PVC wiring accessories etc. for a complete installation
From Dist. Board 'DB-B' to:
1.194 | Twin Socket Outlets | 5 | No. |  | 0
1.195 | Double pole switch | 1 | No. |  | 0
1.196 | 5 Light Point on 1 Switch | 1 | No. |  | 0
1.197 | Extra over and above cabling for voltage sensing/battery charging for fittings with power pack. | 2 | No. |  | 0
Wiring from distribution boards using LSZH cable enclosed in galvanised trunking and PVC conduit chased in wall/ surface mounted including the supply of all LSZH cable and PVC wiring accessories etc. for a complete installation
From Dist. Board 'DB-PMP' to:
1.198 | Twin Socket Outlets | 2 | No. |  | 0
1.199 | 1 Light Point on 1 Switch | 1 | No. |  | 0
1.2 | Extra over and above cabling for voltage sensing/battery charging for fittings with power pack. | 1 | No. |  | 0
Wiring from distribution boards using LSZH cable enclosed in galvanised trunking and PVC conduit chased in wall/ surface mounted including the supply of all LSZH cable and PVC wiring accessories etc. for a complete installation
From Dist. Board 'DB-TNK' to:
1.201 | Twin Socket Outlets - IP65 | 2 | No. |  | 0
1.202 | Double pole switch | 1 | No. |  | 0
Wiring from distribution boards using LSZH cable enclosed in galvanised trunking and PVC conduit chased in wall/ surface mounted including the supply of all LSZH cable and PVC wiring accessories etc. for a complete installation
From Dist. Board 'DB-AV' to:
1.203 | Twin Socket Outlets | 2 | No. |  | 0
1.204 | Twin Socket Outlets - IP65 | 5 | No. |  | 0
1.205 | 1 Light Point on 1 Switch | 3 | No. |  | 0
1.206 | 3 Light Point on 1 Switch | 1 | No. |  | 0
1.207 | 4 Light Point on 1 Switch | 1 | No. |  | 0
1.208 | 8 Light Point on 1 Switch | 2 | No. |  | 0
Wiring from distribution boards using LSZH cable enclosed in galvanised trunking and PVC conduit chased in wall/ surface mounted including the supply of all LSZH cable and PVC wiring accessories etc. for a complete installation
From Dist. Board 'DB-QA' to:
1.209 | Twin Socket Outlets | 3 | No. |  | 0
1.21 | Double pole switch | 1 | No. |  | 0
1.211 | 1 Light Point on 1 Switch | 1 | No. |  | 0
1.212 | 4 Light Point on presence sensor and override switch | 1 | No. |  | 0
1.213 | Extra over and above cabling for voltage sensing/battery charging for fittings with power pack. | 1 | No. |  | 0
Supply, install & connect:
1.214 | 90˚ Presence detector | 8 | No. |  | 0
Wiring from distribution boards using LSZH cable enclosed in galvanised trunking and PVC conduit chased in wall/ surface mounted including the supply of all LSZH cable and PVC wiring accessories etc. for a complete installation
From Dist. Board 'DB-QB' to:
1.215 | Twin Socket Outlets | 3 | No. |  | 0
1.216 | Double pole switch | 1 | No. |  | 0
1.217 | 2 Light Point on 1 Switch | 1 | No. |  | 0
1.218 | 4 Light Point on presence sensor and override switch | 1 | No. |  | 0
1.219 | Extra over and above cabling for voltage sensing/battery charging for fittings with power pack. | 1 | No. |  | 0
Supply, install & connect:
1.22 | 90˚ Presence detector | 8 | No. |  | 0
Wiring from distribution boards using LSZH cable enclosed in galvanised trunking and PVC conduit chased in wall/ surface mounted including the supply of all LSZH cable and PVC wiring accessories etc. for a complete installation
From Dist. Board 'DB-QC' to:
1.221 | Twin Socket Outlets | 3 | No. |  | 0
1.222 | Double pole switch | 1 | No. |  | 0
1.223 | 1 Light Point on 1 Switch | 1 | No. |  | 0
1.224 | 4 Light Point on presence sensor and override switch | 1 | No. |  | 0
1.225 | Extra over and above cabling for voltage sensing/battery charging for fittings with power pack. | 1 | No. |  | 0
| Supply, install & connect: |  |  |  | 0
1.226 | 90˚ Presence detector | 8 | No. |  | 0
External lighting installation
1.227 | Wiring from 'Pole 01' terminal box to flood lights on pole c/w motion sensors, control cables and all necessary control equipment to operate the system remotely from security desk. This item shall cover all the required ancillary items for a full comprehensive system as indicated in the specifications for a complete working system. | 1 | L.S. |  | 0
1.228 | Earthing of the installation according to IET standards and local Enemalta regulations. | 1 | L.S. |  | 0
1.229 | Test and commission system | 1 | L.S. |  | 0
1.23 | Supply one full set of as fitted drawings (including 1 hard copy and a digital copy on 2 separate USBs) | 1 | Set |  | 0
| GRAND TOTAL INCLUDING TAXES / CHARGES, OTHER DUTIES & DISCOUNTS BUT EXCLUSIVE OF VAT (DELIVERED DUTY PAID - DDP) |  |  |  | 0
N.B | Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.

## Bill 2 - LightFitt
Tender for Mechanical and Electrical Engineering as part of ERDF Project ERDF.05.121 – Wildlife Rehabilitation Centre
ERDF.PA5.0121 – Tender 019
The tables that follow give the description of the rates (or unit prices) by using the relevant clauses of the Technical Specifications.
N.B. Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.
ITEM | DESCRIPTION | QTY | UNIT | RATE (Exclusive of VAT, but including all taxes & any other charges as applicable) € | TOTAL (Exclusive of VAT, but including all taxes & any other charges as applicable) €
PRELIMINARIES
All equipment to be used within this contract is to be approved prior to delivery to site.
Prepare a risk assessment report outlining all risks involved and measures to be taken to minimise or eliminate potential risks. The report is to be prepared and signed by a competent person and to be submitted within three weeks from commencement of works. Implementation of health and safety measures on site including personal safety (e.g safety shoes, helmets scaffolding, harnesses etc) as well as those to render the site safe for employees.
Allow for carrying out all surveys, setting out of works unless included elsewhere in the Bills of Quantities.
Provision for the supply and delivery to site of samples as may be requested by the Consultant Engineer
Allow for continuously keeping the site and building clean and in a workman type condition free from debris, surplus materials and any other type of loose matter arising from works, which will disturb the proper conditions of any internal and external areas, roads and/or adjoining structures. Site Cleaning is to take place during the whole duration of works
Provision for hauling of equipment on site, including cranage, permits and all necessary fees.
2 | LIGHT FITTINGS - SUPPLY, INSTALL & CONNECT
Supply, Install & Connect the following light fittings:
Block 'A'
2.001 | Type A1 - Ceiling Mounted Tube Light Fittings (LED 30W) | 58 | No. |  | 0
2.002 | Type A2 - Ceiling Mounted Tube Light Fittings (LED 30W) c/w Power Pack | 27 | No. |  | 0
2.003 | Type A3 - Ceiling Mounted Tube Light Fittings (LED 20W) | 2 | No. |  | 0
2.004 | Type A4 - Ceiling Mounted Tube Light Fittings (LED 20W) c/w Power Pack | 2 | No. |  | 0
2.005 | Type B1 - Ceiling Mounted Circular Lights (LED 15W) | 5 | No. |  | 0
2.006 | Type B2 - Ceiling Mounted Circular Lights (LED 15W) c/w Power Pack | 6 | No. |  | 0
2.007 | Type C1 - Low Level Wall Mounted Light Fittings (LED 10W) | 6 | No. |  | 0
2.008 | Type D1 - Ceiling Mounted Down lighters Light fittings (LED 15W) | 5 | No. |  | 0
2.009 | Type D2 - Ceiling Mounted Down lighters Light fittings (LED 15W) c/w Power Pack | 4 | No. |  | 0
2.01 | Type E1 - Maintained emergency light fitting c/w exit sign indication | 8 | No. |  | 0
2.011 | Type E2 - Non - Maintained emergency light fitting | 3 | No. |  | 0
2.012 | Type F1 - 600 x 600 Panel Ceiling Mounted Lights (LED 30W) | 10 | No. |  | 0
2.013 | Type F2 - 600 x 600 Panel Ceiling Mounted Lights (LED 30W) c/w Power Pack | 4 | No. |  | 0
2.014 | Type G1 - High Level Wall Mounted Light Fittings (LED 10W) - IP65 | 23 | No. |  | 0
2.015 | Type H1 - Utility Light Fittings (LED 10W) | 5 | No. |  | 0
Rooms AQ, BQ & CQ
2.016 | Type A1 - Ceiling Mounted Tube Light Fittings (LED 30W) | 1 | No. |  | 0
2.017 | Type A2 - Ceiling Mounted Tube Light Fittings (LED 30W) c/w Power Pack | 3 | No. |  | 0
2.018 | Type G1 - High Level Wall Mounted Light Fittings (LED 10W) - IP65 | 12 | No. |  | 0
Aviary
3.016 | Type I1 - IP65 Low Level Wall Mounted Light Fitting (LED 5W) | 16 | No. |  | 0
3.017 | Type J1 - IP65 High Level Aviary Mounted Light Fitting (LED 15W) | 10 | No. |  | 0
Sitewide Area
3.018 | Type K1 - Flood lights pole mounted type Light Fittings (LED 50W) | 3 | No. |  | 0
3.019 | Type K2 - Infra red Flood lights pole mounted type Light Fittings (50W) | 1 | No. |  | 0
3.02 | Lighting poles (8M) c/w MCBs and RCBOs as shown in the drawings and specifications | 1 | No. |  | 0
| GRAND TOTAL INCLUDING TAXES / CHARGES, OTHER DUTIES & DISCOUNTS BUT EXCLUSIVE OF VAT (DELIVERED DUTY PAID - DDP) |  |  |  | 0
N.B | Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.

## Bill 3 - Cable
Tender for Mechanical and Electrical Engineering as part of ERDF Project ERDF.05.121 – Wildlife Rehabilitation Centre
ERDF.PA5.0121 – Tender 019
The tables that follow give the description of the rates (or unit prices) by using the relevant clauses of the Technical Specifications.
N.B. Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.
ITEM | DESCRIPTION | QTY | UNIT | RATE (Exclusive of VAT, but including all taxes & any other charges as applicable) € | TOTAL (Exclusive of VAT, but including all taxes & any other charges as applicable) €
PRELIMINARIES
All equipment to be used within this contract is to be approved prior to delivery to site.
Prepare a risk assessment report outlining all risks involved and measures to be taken to minimise or eliminate potential risks. The report is to be prepared and signed by a competent person and to be submitted within three weeks from commencement of works. Implementation of health and safety measures on site including personal safety (e.g safety shoes, helmets scaffolding, harnesses etc) as well as those to render the site safe for employees.
Allow for carrying out all surveys, setting out of works unless included elsewhere in the Bills of Quantities.
Provision for the supply and delivery to site of samples as may be requested by the Consultant Engineer
Allow for continuously keeping the site and building clean and in a workman type condition free from debris, surplus materials and any other type of loose matter arising from works, which will disturb the proper conditions of any internal and external areas, roads and/or adjoining structures. Site Cleaning is to take place during the whole duration of works
Provision for hauling of equipment on site, including cranage, permits and all necessary fees.
3 | CABLE CONTAINMENT INSTALLATION
Supply and install galvanised cable tray/trunking/as per specifications and indicated on drawings c/w earth clips etc. for a complete installation
Block 'A'
Data Cable Basket system:
3.001 | 100 x 50 mm | 110 | m |  | 0
Power system:
3.002 | 75 x 50 mm | 25 | m |  | 0
3.003 | 100 x 50 mm | 90 | m |  | 0
ELV system:
3.004 | 75 x 50 mm | 95 | m |  | 0
Cable Tray - Power
3.005 | 100 mm | 130 | m |  | 0
3.006 | 400 mm | 20 | m |  | 0
3.007 | 100 mm (For Optic Fibre use) | 55 | m |  | 0
Sleeves in Block 'A'
3.008 | 50mm dia | 80 | m |  | 0
Sleeves in Trench
3.009 | 110mm dia | 150 | m |  | 0
3.01 | 110mm dia Fibre optic | 300 | m |  | 0
3.011 | 110mm dia Water Main | 300 | m |  | 0
3.012 | Earthing of all metal cable containmnet | 1 | L.S. |  | 0
3.013 | Supply one full set of as fitted drawings (including 1 hard copy and a digital copy on 2 separate USBs) | 1 | Set |  | 0
| GRAND TOTAL INCLUDING TAXES / CHARGES, OTHER DUTIES & DISCOUNTS BUT EXCLUSIVE OF VAT (DELIVERED DUTY PAID - DDP) |  |  |  | 0
N.B | Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.

## Bill 4 - Trench
Tender for Mechanical and Electrical Engineering as part of ERDF Project ERDF.05.121 – Wildlife Rehabilitation Centre
ERDF.PA5.0121 – Tender 019
The tables that follow give the description of the rates (or unit prices) by using the relevant clauses of the Technical Specifications.
N.B. Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.
ITEM | DESCRIPTION | QTY | UNIT | RATE (Exclusive of VAT, but including all taxes & any other charges as applicable) € | TOTAL (Exclusive of VAT, but including all taxes & any other charges as applicable) €
PRELIMINARIES
All equipment to be used within this contract is to be approved prior to delivery to site.
Prepare a risk assessment report outlining all risks involved and measures to be taken to minimise or eliminate potential risks. The report is to be prepared and signed by a competent person and to be submitted within three weeks from commencement of works. Implementation of health and safety measures on site including personal safety (e.g safety shoes, helmets scaffolding, harnesses etc) as well as those to render the site safe for employees.
Allow for carrying out all surveys, setting out of works unless included elsewhere in the Bills of Quantities.
Provision for the supply and delivery to site of samples as may be requested by the Consultant Engineer
Allow for continuously keeping the site and building clean and in a workman type condition free from debris, surplus materials and any other type of loose matter arising from works, which will disturb the proper conditions of any internal and external areas, roads and/or adjoining structures. Site Cleaning is to take place during the whole duration of works
Provision for hauling of equipment on site, including cranage, permits and all necessary fees.
4 | TRENCHING WORKS
4.001 | Excavation of trench for laying of sleeves and drain pipes as per detail in any type of material width 850mm x 500mm deep. | 85 | cu.m |  | 0
4.002 | Infill of trench with C20 concrete material width 850mm x 500mm deep. | 85 | cu.m |  | 0
4.003 | Contractor should be responsible to assist in pipe laying works are carried out. | 1 | L.S |  | 0
4.004 | Resurfacing of road with tarmac | 160 | m² |  | 0
Supply, install and connect
4.005 | Inspection Manholes 600x600mm c/w manhole covers | 5 | No. |  | 0
| GRAND TOTAL INCLUDING TAXES / CHARGES, OTHER DUTIES & DISCOUNTS BUT EXCLUSIVE OF VAT (DELIVERED DUTY PAID - DDP) |  |  |  | 0
N.B | Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.

## Bill 5 Plumbing BTH
Tender for Mechanical and Electrical Engineering as part of ERDF Project ERDF.05.121 – Wildlife Rehabilitation Centre
ERDF.PA5.0121 – Tender 019
The tables that follow give the description of the rates (or unit prices) by using the relevant clauses of the Technical Specifications.
N.B. Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.
ITEM | DESCRIPTION | QTY | UNIT | RATE (Exclusive of VAT, but including all taxes & any other charges as applicable) € | TOTAL (Exclusive of VAT, but including all taxes & any other charges as applicable) €
PRELIMINARIES
All equipment to be used within this contract is to be approved prior to delivery to site.
Prepare a risk assessment report outlining all risks involved and measures to be taken to minimise or eliminate potential risks. The report is to be prepared and signed by a competent person and to be submitted within three weeks from commencement of works. Implementation of health and safety measures on site including personal safety (e.g safety shoes, helmets scaffolding, harnesses etc) as well as those to render the site safe for employees.
Allow for carrying out all surveys, setting out of works unless included elsewhere in the Bills of Quantities.
Provision for the supply and delivery to site of samples as may be requested by the Consultant Engineer
Allow for continuously keeping the site and building clean and in a workman type condition free from debris, surplus materials and any other type of loose matter arising from works, which will disturb the proper conditions of any internal and external areas, roads and/or adjoining structures. Site Cleaning is to take place during the whole duration of works
Provision for hauling of equipment on site, including cranage, permits and all necessary fees.
5 | PLUMBING INSTALLATION - BATHROOMS
Rooms AQ. BQ & CQ
Supply and install the following PE pipe work type installed in trench and surface clipped to low level walls. Installation should be inclusive of all accessories, fittings sleeves in walls, brackets fixing, vents and all necessary to provide a complete system. Pipes to have the following Internal Ø in mm
5.001 | 28 mm dia | 350 | m |  | 0
Supply and install valves as per schematic:
5.002 | 28 mm dia. Isolating valve | 4 | No. |  | 0
Plumbing hot and cold water using Polybutylene chased in wall from connection in shaft / main distribution pipework to sanitary fittings, bib taps etc including the supply of all pipes and fittings, brackets etc. for a complete installation as per drawing.
5.003 | Wash hand basin | 3 | No. |  | 0
5.004 | Water Heater | 3 | No. |  | 0
Supply and install Heavy Gauge PVC drains from sanitary fitting to connection in shaft including all fittings etc. for a complete installation for the following.
5.005 | Wash hand basin | 3 | No. |  | 0
Install and connect the following sanitary ware and chrome :
5.006 | Wash hand basin | 3 | No. |  | 0
5.007 | Wash hand basin mixer and waste | 3 | No. |  | 0
Supply, install and connect the following equipment:
5.008 | Chrome plated angle valves | 12 | No. |  | 0
5.009 | Water Heater 15L | 3 | No. |  | 0
Block 'A'
Supply and install the following Polypropylene PN10 Cold/Hot water pipe work installed at each floor level and in shafts. All runs must b inclusive of all accessories, fittings sleeves in walls, brackets fixing, vents and all necessary to provide a complete system. Pipes to have the following Internal Ø in mm
5.01 | 15 mm dia | 20 | m |  | 0
5.011 | 22 mm dia | 120 | m |  | 0
5.012 | 28 mm dia | 75 | m |  | 0
5.013 | 32 mm dia | 55 | m |  | 0
5.014 | 40 mm dia | 25 | m |  | 0
5.015 | 50 mm dia | 25 | m |  | 0
Supply and install valves as per schematic:
5.016 | 22 mm dia. Isolating valve | 2 | No. |  | 0
5.017 | 28 mm dia. Isolating valve | 8 | No. |  | 0
5.018 | 32 mm dia. Isolating valve | 1 | No. |  | 0
5.019 | 50 mm dia. Isolating valve | 2 | No. |  | 0
Plumbing hot and cold water using Polybutylene chased in wall from connection in shaft / main distribution pipework to sanitary fittings, bib taps etc including the supply of all pipes and fittings, brackets etc. for a complete installation as per drawing.
5.02 | Wash hand basin | 8 | No. |  | 0
5.021 | WC complete with flushing | 11 | No. |  | 0
5.022 | Sink | 11 | No. |  | 0
5.023 | Bib tap | 5 | No. |  | 0
5.024 | Water Heater 20 L | 6 | No. |  | 0
5.025 | Water Heater 50 L | 2 | No. |  | 0
Supply and install Heavy Gauge PVC drains from sanitary fitting to connection in shaft including all fittings etc. for a complete installation for the following.
5.026 | Wash hand basin | 8 | No. |  | 0
5.027 | WC complete with flushing | 11 | No. |  | 0
5.028 | Sink | 11 | No. |  | 0
Install and connect the following sanitary ware and chrome
5.029 | Wash hand basin | 8 | No. |  | 0
5.03 | Wash hand basin mixer and waste | 8 | No. |  | 0
5.031 | WC complete with flushing | 11 | No. |  | 0
5.032 | Sink | 11 | No. |  | 0
5.033 | Sink mixer and waste | 11 | No. |  | 0
Supply, install and connect the following equipment
5.034 | Chrome plated angle valves | 65 | No. |  | 0
5.035 | Bib tap | 5 | No. |  | 0
5.036 | Water Heater 20 L | 6 | No. |  | 0
5.037 | Water Heater 50 L | 2 | No. |  | 0
Supply, Install and connect the following equipment:
5.038 | 2,000 L Storage Tank | 1 | L.S. |  | 0
Supply, Install and connect of the following pumps c/w flexible bellows, non-return valve, strainer etc and all necessary fittings required as per drawing and specifications:
5.039 | 78 L/min @ 10m head Cold water booster pump | 1 | No. |  | 0
Aviary Area
Supply and install the following PE pipe work type installed in trench and surface clipped to low level walls. Installation should be inclusive of all accessories, fittings sleeves in walls, brackets fixing, vents and all necessary to provide a complete system. Pipes to have the following Internal Ø in mm
5.04 | 22 mm dia | 155 | m |  | 0
Supply, install and connect the following equipment
5.041 | 22 mm dia. Isolating valve | 1 | No. |  | 0
5.042 | Bib tap | 2 | No. |  | 0
5.043 | Labelling and colour coding of all pipework | 1 | L.S. |  | 0
5.044 | Supply one full set of as fitted drawings (including 1 hard copy and a digital copy on 2 separate USBs) | 1 | Set |  | 0
| GRAND TOTAL INCLUDING TAXES / CHARGES, OTHER DUTIES & DISCOUNTS BUT EXCLUSIVE OF VAT (DELIVERED DUTY PAID - DDP) |  |  |  | 0
N.B | Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.

## Bill 6 - Plumbing Tanks
Tender for Mechanical and Electrical Engineering as part of ERDF Project ERDF.05.121 – Wildlife Rehabilitation Centre
ERDF.PA5.0121 – Tender 019
The tables that follow give the description of the rates (or unit prices) by using the relevant clauses of the Technical Specifications.
N.B. Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.
ITEM | DESCRIPTION | QTY | UNIT | RATE (Exclusive of VAT, but including all taxes & any other charges as applicable) € | TOTAL (Exclusive of VAT, but including all taxes & any other charges as applicable) €
PRELIMINARIES
All equipment to be used within this contract is to be approved prior to delivery to site.
Prepare a risk assessment report outlining all risks involved and measures to be taken to minimise or eliminate potential risks. The report is to be prepared and signed by a competent person and to be submitted within three weeks from commencement of works. Implementation of health and safety measures on site including personal safety (e.g safety shoes, helmets scaffolding, harnesses etc) as well as those to render the site safe for employees.
Allow for carrying out all surveys, setting out of works unless included elsewhere in the Bills of Quantities.
Provision for the supply and delivery to site of samples as may be requested by the Consultant Engineer
Allow for continuously keeping the site and building clean and in a workman type condition free from debris, surplus materials and any other type of loose matter arising from works, which will disturb the proper conditions of any internal and external areas, roads and/or adjoining structures. Site Cleaning is to take place during the whole duration of works
Provision for hauling of equipment on site, including cranage, permits and all necessary fees.
6 | PLUMBING INSTALLATION - FOR TANKING SYSTEM
Water Supply & Mains
Supply and install the following Polypropylene PN10 pipe work installed at each floor level and in shafts. All runs must b inclusive of all accessories, fittings sleeves in walls, brackets fixing, vents and all necessary to provide a complete system. Pipes to have the following Internal Ø in mm
6.001 | 25 mm dia | 65 | m |  | 0
6.002 | 40 mm dia | 110 | m |  | 0
6.003 | 50 mm dia | 145 | m |  | 0
| Supply, install and connect the following valves as per schematic: |  |  |  | 0
6.004 | 50 mm dia | 3 | No. |  | 0
6.005 | 50 mm dia Motorised valves | 16 | No. |  | 0
6.006 | 50 mm dia Non return valves | 3 | No. |  | 0
Supply, Install and connect the following equipment:
6.007 | Pump pressure sensor c/w control cables to each motorised valve as indicated in the schematic | 1 | L.S. |  | 0
Hot Water Distribution System
Supply and install the following Polypropylene PN10 pipe work multilayered type to limit expansion installed. All runs must be c/w closed cell type insulation fire rated at BS2d0 and inclusive of all accessories, fittings sleeves in walls, brackets fixing, vents and all necessary to provide a complete system. Pipes to have the following Internal Ø in mm
6.008 | 25 mm dia | 555 | m |  | 0
6.009 | 32 mm dia | 205 | m |  | 0
6.01 | 100 mm dia | 65 | m |  | 0
| Supply, install and connect the following valves as per schematic: |  |  |  | 0
6.011 | 25 mm dia | 104 | No. |  | 0
6.012 | 32 mm dia | 84 | No. |  | 0
6.013 | 100 mm dia | 2 | No. |  | 0
6.014 | 25 mm dia Non return valves | 8 | No. |  | 0
6.015 | 32 mm dia Non return valves | 8 | No. |  | 0
Supply, Install and connect the following equipment:
6.016 | Temperature gauge | 17 | No. |  | 0
6.017 | Temperature sensor c/w control cables to MCP as indicated in the schematic | 16 | No. |  | 0
6.018 | Water level sensor c/w control cables to the MCP as indicated in the schematic | 16 | No. |  | 0
6.019 | Strainer/filter | 16 | No. |  | 0
6.02 | UV filter as specified | 1 | No. |  | 0
6.021 | UV filter as specified | 1 | No. |  | 0
6.022 | UV filter as specified | 1 | No. |  | 0
6.023 | Heat exchanger 1.5 kW | 1 | No. |  | 0
6.024 | Heat exchanger 4.5 kW | 1 | No. |  | 0
6.025 | Heat exchanger 10.5 kW | 1 | No. |  | 0
6.026 | Solar Water Collector System | 1 | L.S. |  | 0
6.027 | 2,000 ltr Thermal Accumulator as per specifications c/w electrical heating elements, drains, pressure release valves and all other accessories for a complete system - Glass Lined Interior | 1 | No. |  | 0
6.028 | 200 ltr make up tank | 2 | No. |  | 0
Supply, Install and connect of the following pumps c/w flexible bellows, non-return valve, strainer etc and all necessary fittings required as per drawing and specifications:
6.029 | P 01 - 15 L/min @ 10m head Solar collector circulation pump | 1 | No. |  | 0
6.03 | P 03 - 70 L/min @ 20m head Settling tank pump | 1 | No. |  | 0
6.031 | P HES 01-08 - 4.5 L/min @ 10m head | 8 | No. |  | 0
6.032 | P HEP 01-08 - 4.5 L/min @ 10m head | 8 | No. |  | 0
6.033 | P HES 09-14 - 13 L/min @ 10m head | 6 | No. |  | 0
6.034 | P HEP 09-14 - 13 L/min @ 10m head | 6 | No. |  | 0
6.035 | P HES 15 - 30 L/min @ 10m head | 1 | No. |  | 0
6.036 | P HEP 15 - 30 L/min @ 10m head | 1 | No. |  | 0
6.037 | P HES EFF - 30 L/min @ 10m head | 1 | No. |  | 0
6.038 | P HEP EFF - 30 L/min @ 10m head | 1 | No. |  | 0
6.039 | Cleaning, flushing, drain and final fill for all closed circuits | 1 | L.S. |  | 0
6.04 | Labelling and colour coding of all pipework | 1 | L.S. |  | 0
6.041 | Test and commission system | 1 | L.S. |  | 0
6.042 | Supply one full set of as fitted drawings (including 1 hard copy and a digital copy on 2 separate USBs) | 1 | Set |  | 0
| GRAND TOTAL INCLUDING TAXES / CHARGES, OTHER DUTIES & DISCOUNTS BUT EXCLUSIVE OF VAT (DELIVERED DUTY PAID - DDP) |  |  |  | 0
N.B | Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.

## Bill 7 - Sewerage
Tender for Mechanical and Electrical Engineering as part of ERDF Project ERDF.05.121 – Wildlife Rehabilitation Centre
ERDF.PA5.0121 – Tender 019
The tables that follow give the description of the rates (or unit prices) by using the relevant clauses of the Technical Specifications.
N.B. Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.
ITEM | DESCRIPTION | QTY | UNIT | RATE (Exclusive of VAT, but including all taxes & any other charges as applicable) € | TOTAL (Exclusive of VAT, but including all taxes & any other charges as applicable) €
PRELIMINARIES
All equipment to be used within this contract is to be approved prior to delivery to site.
Prepare a risk assessment report outlining all risks involved and measures to be taken to minimise or eliminate potential risks. The report is to be prepared and signed by a competent person and to be submitted within three weeks from commencement of works. Implementation of health and safety measures on site including personal safety (e.g safety shoes, helmets scaffolding, harnesses etc) as well as those to render the site safe for employees.
Allow for carrying out all surveys, setting out of works unless included elsewhere in the Bills of Quantities.
Provision for the supply and delivery to site of samples as may be requested by the Consultant Engineer
Allow for continuously keeping the site and building clean and in a workman type condition free from debris, surplus materials and any other type of loose matter arising from works, which will disturb the proper conditions of any internal and external areas, roads and/or adjoining structures. Site Cleaning is to take place during the whole duration of works
Provision for hauling of equipment on site, including cranage, permits and all necessary fees.
7 | SEWERAGE SYSTEMS
General Sewerage Installation
Supply install and connect the following heavy gauge UPVC pipe work, sewage collection pipework fixed to walls, ceiling by appropriate brackets and laid in to fall as per drawings inclusive of all accessories, fittings sleeves in walls, brackets fixing, vents and all necessary to provide a complete system. Pipes to have the following Internal Ø in mm
7.001 | 40mm dia. Sewerage | 55 | m |  | 0
7.002 | 50mm dia. Sewerage | 130 | m |  | 0
7.003 | 110mm dia. Sewerage | 300 | m |  | 0
7.004 | 125mm dia. Sewerage | 20 | m |  | 0
Supply, install and connect
7.005 | Inspection Manholes 600x600mm | 5 | No. |  | 0
7.006 | Floor drains | 15 | No. |  | 0
7.007 | Test and commission systems | 1 | L.S. |  | 0
Aviary Area
Supply install and connect the following heavy gauge UPVC pipe work, sewage collection pipework laid in to fall as per drawings inclusive of all accessories, fittings sleeves in walls, brackets fixing, vents and all necessary to provide a complete system. Pipes to have the following Internal Ø in mm
7.008 | 110mm dia. Sewerage | 90 | m |  | 0
Supply, install and connect
7.009 | Floor drains 300 x 300 mm | 4 | No. |  | 0
7.01 | Prefabricated sump (Capacity 550 ltrs) | 1 | No. |  | 0
7.011 | Supply and install Submersible sump pump 50 L/min @ 10m head as per specifications | 1 | L.S. |  | 0
Rehabilitation Tanks Sewerage Installation
Supply install and connect the following heavy gauge PE pipe work, sewage collection pipework fixed to walls, ceiling by appropriate brackets and laid in to fall as per drawings inclusive of all accessories, fittings sleeves in walls, brackets fixing, vents and all necessary to provide a complete system. Pipes to have the following Internal Ø in mm
7.012 | 50mm dia. Sewerage | 45 | m |  | 0
7.013 | 63mm dia. Sewerage | 55 | m |  | 0
7.014 | 110mm dia. Sewerage | 30 | m |  | 0
7.015 | 125mm dia. Sewerage | 565 | m |  | 0
Supply, install and connect
7.016 | 50mm dia. valve | 15 | No. |  | 0
7.017 | 63mm dia. valve | 15 | No. |  | 0
7.018 | 110mm dia. valve | 15 | No. |  | 0
7.019 | 50mm dia. Motorised valve | 16 | No. |  | 0
7.02 | 110mm dia. Motorised valve | 16 | No. |  | 0
7.021 | Test and commission systems | 1 | L.S. |  | 0
7.022 | Supply one full set of as fitted drawings (including 1 hard copy and a digital copy on 2 separate USBs) | 1 | Set |  | 0
| GRAND TOTAL INCLUDING TAXES / CHARGES, OTHER DUTIES & DISCOUNTS BUT EXCLUSIVE OF VAT (DELIVERED DUTY PAID - DDP) |  |  |  | 0
N.B | Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.

## Bill 8 - Data
Tender for Mechanical and Electrical Engineering as part of ERDF Project ERDF.05.121 – Wildlife Rehabilitation Centre
ERDF.PA5.0121 – Tender 019
The tables that follow give the description of the rates (or unit prices) by using the relevant clauses of the Technical Specifications.
N.B. Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.
ITEM | DESCRIPTION | QTY | UNIT | RATE (Exclusive of VAT, but including all taxes & any other charges as applicable) € | TOTAL (Exclusive of VAT, but including all taxes & any other charges as applicable) €
PRELIMINARIES
All equipment to be used within this contract is to be approved prior to delivery to site.
Prepare a risk assessment report outlining all risks involved and measures to be taken to minimise or eliminate potential risks. The report is to be prepared and signed by a competent person and to be submitted within three weeks from commencement of works. Implementation of health and safety measures on site including personal safety (e.g safety shoes, helmets scaffolding, harnesses etc) as well as those to render the site safe for employees.
Allow for carrying out all surveys, setting out of works unless included elsewhere in the Bills of Quantities.
Provision for the supply and delivery to site of samples as may be requested by the Consultant Engineer
Allow for continuously keeping the site and building clean and in a workman type condition free from debris, surplus materials and any other type of loose matter arising from works, which will disturb the proper conditions of any internal and external areas, roads and/or adjoining structures. Site Cleaning is to take place during the whole duration of works
Provision for hauling of equipment on site, including cranage, permits and all necessary fees.
8 | DATA INSTALLATION
Data Infrastructure
Supply, install, and connect sleeved in trench corrugated Steel Armoured 12 Core OM4 Multiode Fibre Optic Cable from server room inBlock 'A' to the following data switches including all cables, glands, connectors, termination in fiber optic patch panels required for a complete installation
8.001 | Data Switch in Room AQ | 345 | m |  | 0
8.002 | Data Switch in Room BQ | 290 | m |  | 0
8.003 | Data Switch in Room CQ | 260 | m |  | 0
8.004 | Data Switch in Pole 01 | 150 | m |  | 0
8.005 | Data Switch in Block 'C' | 65 | m |  | 0
8.006 | Supply and install 12 port 1U optical fibre patch panel equipped with pre-loaded duplex LC connections | 2 | No. |  | 0
FROM BLOCK 'A' DATA CABINET TO:
Supply and install data points via galvanised trunking and PVC conduit chased in walls / galvanised conduit surface mounted from patch panel to various data points as per drawing. There shall be 1qty 25 mm conduits for a maximum of three cables. All data cable conduit shall be 25mm dia.
8.007 | Data Points | 20 | No. |  | 0
Wiring from patch panel to the following points using CAT 6 cable including the provision of all cables etc for a complete system. All cables to be marked at both ends using appropriate number bands
8.008 | Data Points x 2 cable | 19 | No. |  | 0
8.009 | Data Points x 2 cable (Aviary area) | 1 | No. |  | 0
Supply, install and Connect the following wall plates:
8.01 | Double Wall plates | 20 | No. |  | 0
8.011 | Termination of cables at both ends including the provision of RJ45 sockets | 40 | No. |  | 0
8.012 | Testing of cables and issuing of the relevant certifications per data point | 40 | No. |  | 0
8.013 | Supply, install and connect 24 port CAT 6 patch panels | 2 | No. |  | 0
8.014 | Supply, install and connect 42U data cabinet | 1 | No. |  | 0
8.015 | Supply and install rack mountable PDU, 12-way, 1U high as specified | 1 | No. |  | 0
8.016 | Supply and install 42U high vertical cable management channels as specified | 1 | L.S. |  | 0
8.017 | Supply and install horizontal cable management frames, 1U high | 1 | L.S. |  | 0
FROM ROOM AQ DATA CABINET TO:
Supply and install data points via galvanised trunking and PVC conduit chased in walls / galvanised conduit surface mounted from patch panel to various data points as per drawing. There shall be 1qty 25 mm conduits for a maximum of three cables. All data cable conduit shall be 25mm dia.
8.018 | Data Points | 1 | No. |  | 0
Wiring from patch panel to the following points using CAT 6 cable including the provision of all cables etc for a complete system. All cables to be marked at both ends using appropriate number bands
8.019 | Data Points x 2 cable | 1 | No. |  | 0
Supply, install and Connect the following wall plates:
8.02 | Double Wall plates | 1 | No. |  | 0
8.021 | Termination of cables at both ends including the provision of RJ45 sockets | 2 | No. |  | 0
8.022 | Testing of cables and issuing of the relevant certifications per data point | 2 | No. |  | 0
8.023 | Supply, install and connect 24 port CAT 6 patch panels | 1 | No. |  | 0
8.024 | Supply, install and connect 8U data cabinet | 1 | No. |  | 0
FROM ROOM BQ DATA CABINET TO:
Supply and install data points via galvanised trunking and PVC conduit chased in walls / galvanised conduit surface mounted from patch panel to various data points as per drawing. There shall be 1qty 25 mm conduits for a maximum of three cables. All data cable conduit shall be 25mm dia.
8.025 | Data Points | 1 | No. |  | 0
Wiring from patch panel to the following points using CAT 6 cable including the provision of all cables etc for a complete system. All cables to be marked at both ends using appropriate number bands
8.026 | Data Points x 2 cable | 1 | No. |  | 0
Supply, install and Connect the following wall plates:
8.027 | Double Wall plates | 1 | No. |  | 0
8.028 | Termination of cables at both ends including the provision of RJ45 sockets | 2 | No. |  | 0
8.029 | Testing of cables and issuing of the relevant certifications per data point | 2 | No. |  | 0
8.03 | Supply, install and connect 24 port CAT 6 patch panels | 1 | No. |  | 0
8.031 | Supply, install and connect 8U data cabinet | 1 | No. |  | 0
FROM ROOM CQ DATA CABINET TO:
Supply and install data points via galvanised trunking and PVC conduit chased in walls / galvanised conduit surface mounted from patch panel to various data points as per drawing. There shall be 1qty 25 mm conduits for a maximum of three cables. All data cable conduit shall be 25mm dia.
8.032 | Data Points | 1 | No. |  | 0
Wiring from patch panel to the following points using CAT 6 cable including the provision of all cables etc for a complete system. All cables to be marked at both ends using appropriate number bands
8.033 | Data Points x 2 cable | 1 | No. |  | 0
Supply, install and Connect the following wall plates:
8.034 | Double Wall plates | 1 | No. |  | 0
8.035 | Termination of cables at both ends including the provision of RJ45 sockets | 2 | No. |  | 0
8.036 | Testing of cables and issuing of the relevant certifications per data point | 2 | No. |  | 0
8.037 | Supply, install and connect 24 port CAT 6 patch panels | 1 | No. |  | 0
8.038 | Supply, install and connect 8U data cabinet | 1 | No. |  | 0
8.039 | Supply and install earthing for all external data points c/w surge arresters, accessories as per specifications | 1 | L.S. |  | 0
8.04 | Test and commission system | 1 | L.S. |  | 0
8.041 | Supply one full set of as fitted drawings (including 1 hard copy and 2 digital copies) | 1 | Set |  | 0
GRAND TOTAL INCLUDING TAXES / CHARGES, OTHER DUTIES & DISCOUNTS BUT EXCLUSIVE OF VAT (DELIVERED DUTY PAID - DDP)
N.B | Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.