**Site Visit Report**

|  |  |
| --- | --- |
| Date: | Friday 2nd October 2020 |
| Tender: | ERDF.05.0121 – Tender 018  Tender for the supply, delivery and installation of Security Systems (CCTV, Intercom, Intruder Alarm System, and Fire System), as part of ERDF Project ERDF.05.121 – Wildlife Rehabilitation Centre |
| Attendees: | As per attached signature sheet |
| Summary of Proceedings | Representatives of Project Engineer and Project Management Service Provider attended for the Site Visit as indicated in the tender document. The provided the only potential bidder who turned up for the site visit with a brief overview of the tender, as well as visiting the different buildings, within the Xrobb l-Għaġin park which will form part of the Wildlife Rehabilitation Centre where the said security systems will be installed.  Potential bidder asked two questions as follows:  Q.1. Will the cabling be laid in trenches cut into the wall?  A.1. No. Within the buildings, all cabling shall be laid on the surface. Cable trays are required where specified in the relevant plans attached to the tender document.  Q2. Will there be trenches dug into the road to link the outlying buildings.  A2. The relevant trenches will be dug as part of the M&E Tender. The relevant plans will be [are] being attached to the minutes **for information purposes ONLY**. |

Project Manager

ERDF 05.121 – Wildlife Rehabilitation Centre