**Site Visit Report**

|  |  |
| --- | --- |
| Date: | 4th December 2020 |
| Tender: | ERDF.05.0121 – Tender 025: Tender for the Manufacture, Supply, Delivery and Installation of an overhead crane and supporting structure, including integrated door as part of ERDF Project ERDF.05.121 – Wildlife Rehabilitation Centre |
| Attendees: | As per attached signature sheet |
| Summary of Proceedings | Project Engineer, Project Architect and representative of Project Management Service Provider gave a brief description of the nature of services expected under the tender document.  Potential bidders agreed that the integrated door structure as proposed in the tender document is technically unfeasible. They argued that there are different technical solutions on the market which however do not meet the requirements of the technical specifications.  Representative of Project Management Service Provider made it clear that the requirements of the tender document could not be changed at this point in time. However the Contracting Authority reserves the right to cancel the tender and re-issue with revised specs if it deems necessary. |

Project Manager

ERDF 05.121 – Wildlife Rehabilitation Centre